Supporting Information

Deep annotation of degenerate features in untargeted LC-MS metabolomics data with Binner

Maureen Kachman1‡, Hani Habra2‡, William Duren1,2‡, Janis Wigginton1‡, Peter Sajjakulnukit1, George Michailidis1,3, Charles Burant1,4, Alla Karnovsky1,2*

1Michigan Regional Comprehensive Metabolomics Resource Core, 2Department of Computational Medicine and Bioinformatics, University of Michigan Medical School, 3Department of Statistics, University of Florida, 4Department of Internal Medicine, University of Michigan Medical School

List of supplements

- Supplementary Materials (this document)

- Supplement 1: Binner report for Reversed Phase LC-MS positive mode data (generated using full annotation file).

- Supplement 2: Binner report for Reversed Phase LC-MS negative mode data (generated using full annotation file).

- Supplement 3: Binner report for HILIC LC-MS positive mode data.

- Supplement 4: List of adducts and neutral losses used for Binner, CAMERA, MS-FLO and xMSannotator.

- Supplement 5: Binner report for XCMS Processed Reversed Phase LC-MS positive mode data, using the minimal set of annotations provided in Supplement 4.  Annotations from CAMERA, MS-FLO and xMSannotator are included as additional columns.

- Supplement 6: Comparison of results produced by Binner, CAMERA, MS-FLO and xMSannotator.

Supplementary Materials

Binner description. The input to the program is a text file containing the following mandatory columns: 1. Unique compound (feature) identifiers, 2. Detected mass to charge ratios (m/z), 3. Retention times and 4. Feature intensities for individual samples. The output of Binner is an Excel spreadsheet with multiple tabs.  A detailed description of the Binner GUI and output file format are provided in the user manual (see http:// binner.med.umich.edu). Supplementary Figure 1 shows a screenshot of the Binner user interface.

Supplementary Figure 1. Binner user interface

Data preprocessing. Data preprocessing is used to ensure meaningful correlations of intensities.  It includes removal of features with a high percentage (by default 30%) of missing values followed by imputation of the remaining missing values using the median value for each feature, and then log-transformation.

Clustering. Binner’s hierarchical clustering algorithm relies on silhouette values to determine the optimal number of clusters. The silhouette is a metric of cluster cohesion relative to separation, commonly used for this purpose; typically the cluster configuration with the highest average silhouette is chosen as optimal.  One drawback of the silhouette method is that it tends to select a configuration with only 2 clusters when the data naturally falls into a grouping where one cluster is much larger than the rest.  In this case a variant silhouette method that downweights large clusters can be corrective (Starczewski and Krzyżak, 2016).  However we observed that the weighted method can have the opposite problem, often oversplitting the data into many extremely small groups with only 2 or 3 features per cluster. To avoid both problems, Binner utilizes a hybrid approach, looking at the number of clusters selected as we vary weighting from the classic unweighted silhouette to a fully weighted diagnostic. By looking at the cluster distribution across a range of weights, we are able to select both a weight and a corresponding cluster configuration that captures the underlying correlation structure without over- or under-splitting the data.  The Binner user manual describes this algorithm in full detail.

Some correlation-based clusters determined as described above may still span a retention time range not typically observed in co-eluting features.  To account for this, initial clusters are further divided by retention time.  Binner provides two options for doing so.  The simplest is to rebin, splitting on any within-cluster RT gaps exceeding the RT-gap threshold.  A more context-sensitive option is to sub-cluster initial clusters by RT.  The latter has the advantage of being data driven, so it can identify natural gaps in the RT spectrum rather than relying on a prespecified RT threshold.

Users can further tune the RT sub-clustering via a “gap rule” option. This rule specifies both a minimum and a maximum gap size; any natural gaps identified by RT clustering that are smaller than the minimum will not be split; conversely, the data will be split on any gap larger than the maximum even if the clustering algorithm does not identify this gap as natural split point.

Generation of RPLC-MS positive and negative mode data. Plasma samples were thawed on ice prior to processing. For deproteinization in preparation for LC-MS analysis, 100 µL of plasma was combined with 400 µL 1:1:1 methanol:acetone:water containing the following internal standards: (L-(D4)Thymine, L-[15N] Anthranilic acid  (each 5 uM); L-(15N)2 Tryptophan, Gibberellic acid, L-Epibrassinolide (each 20 uM). The sample was vortexed, then centrifuged (10 min at 15,000 x g).  For reversed phase (RPLC)-MS analysis, the supernatant was transferred to a clean vial and dried under a stream of nitrogen gas.  The dried sample was reconstituted 50 µL MeOH: Water (50:50) containing Zeatin (1 uM). Samples were analyzed on an Agilent 1290 LC / 6530 qTOF MS system (Agilent Technologies, Inc., Santa Clara, CA USA) using the Waters Acquity HSST3 1.8 uL 2.1 x 100 mm column (Waters Corporation, Milford, MA).  Each sample was analyzed twice, once in positive and once in negative ion mode.  For both positive and negative ion mode runs, mobile phase A was 100% water with 0.1% formic acid and mobile phase B was 100% methanol with 0.1% formic acid.  The gradient for both positive and negative ion modes was as follows: 0-2 min 2% B, 2-20 minutes 2-75% B (linear), 20-22 min 75-98% B (linear), followed by a 7 minute reequilibration at starting conditions. The flow rate was 0.46 mL/min and the column temperature was 40°C.  The injection volumes for positive and negative mode were 5 µL and 8 µL, respectively.  Mass spectrometry was performed by electrospray ionization with an Agilent Jetstream ion source, with full-scan mass spectra acquired over the m/z range 50-1500 Da. Source parameters were: drying gas temperature 350°C, drying gas flow rate 10 L/min, nebulizer pressure 30 psig, sheath gas temp 350°C and flow 11 l/min, and capillary voltage 3500V, with internal reference mass correction.

Processing of the RPLC-MS data. Raw spectral files for all samples were converted to .mzXML format using the MSConvert tool of ProteoWizard 3.0 (Holman, et al., 2014). Positive and negative mode samples were processed using the XCMS R package (Smith, et al., 2006) Version 3.0.0 with parameters recommended by XCMS Online for HPLC Q-TOF instruments (Tautenhahn, et al., 2012). Peak picking was performed with the CentWave method (Tautenhahn, et al., 2008), with peakwidth from 10-40s, ppm = 30, mzdiff = 0.01 and snthresh = 6. The obiwarp method(Prince and Marcotte, 2006) was used to perform RT correction, with profStep = 0.5. Features were grouped across samples with the default density method, with bw = 5, mzwid = 0.033, and minfrac = 0.5. Missing spectral information was imputed with the fillPeaks() method. PCA analysis revealed one sample to be an outlier and it was excluded from further processing. Next, retention times were converted to minutes and the features were arranged in RT order and assigned a compound label according to their ranked RT order (C1, C2, ...). The resulting XCMS feature table was processed with Binner using the parameters shown in the Summary Tab of the Binner output. Putative principal ions (Binner output tab: Molecular Ions (putative)) and other non-annotated ions were searched against the Michigan Regional Comprehensive Metabolomics Resource Core’s (MRC2) in house AMRT-MS/MS library using 0.005 Da ms mass accuracy, 0.01 Da MS/MS fragment mass accuracy and 0.1 min RT as matching criteria.  MS/MS data were processed using Agilent’s Find by Targeted MS/MS algorithm and library search (default weighting) with a score of at least 50 to be considered a match.  Metabolites not in the MRC2 library were searched against the NIST17 MS/MS library and required a reverse dot product score of 700 to be considered a match.  Identification levels, reported with each metabolite in Supplement 5 were defined according to the Metabolomics Standards Initiative(Salek, et al., 2013)

Generation of HILIC positive data. Ten LC-MS samples were prepared from homogenized rat muscle tissue.  To 10-25 mg homogenate, 4 uL/mg of H2O was added and the mixture was further homogenized in a bead mill. Protein precipitation was accomplished with the addition of methanol containing internal isotopically labeled internal standards in a 4:1 ratio to the water content. Samples were then centrifuged (10 min, 9,000 x g, 4°C), and the supernatants were injected directly.  LC-MS and data processing methods were as previously described.9

Comparison and evaluation of Binner, CAMERA, MS-FLO and xMSannotator. Correlation, mass and retention time tolerance thresholds for all tools were set to 0.7, 0.005 Da, and 0.05 min, respectively. Other parameters were set to the default values with the following exceptions:

Binner: The retention time binning gap was set to the default value of 0.03 minutes. The annotation file was split into “charge carriers” (charge > 0) and neutral additions/losses (charge = 0). All charge carrier adducts were labeled as “tier 1” (meaning they can be considered for annotating the most abundant feature in each feature group) except for annotations involving potassium (K, 2K, H+K, Na+K, etc…).

CAMERA (v. 1.34.0): CAMERA does not have any threshold for retention time; the retention time-based grouping was kept to the main method (groupFWHM) with default parameters. For correlation grouping (groupCorr), the only change to the default method was to set the correlation across samples (calcCAS) parameter to TRUE in order to use this information to inform clustering. The findIsotopes() and findAdducts() methods were used to find isotopes and adducts, respectively. An altered adduct table was generated to reflect the weight and quasi patterns of the default adduct table.

MS-FLO (v. 1.7): As only mass differences are searched with this program, we defined a set of possible annotations such as [M+H -> M+Na, mass difference = 21.9819]. The most representative set of common mass differences was created, though we make the disclaimer that only positive differences were searched by MS-FLO. The correlation R2 was set to 0.49 for flagging and all row merging was disabled by setting the correlation threshold larger than the maximum possible value. Only one mass difference was searchable for isotope labeling and it was set to the default value of 1.00335.

xMSannotator (v. 1.3.2): All compounds used for this analysis are contained in the HMDB database, which was used to generate the search list for xMSannotator. Our evaluation focused on the stage 5 analysis results of this tool. xMSannotator frequently produces multiple results for each feature, which may include different putative compounds with differently assigned confidence scores. Because this evaluation focused solely on the ability to annotate the ionic species and not on formula-matching or identification of compounds, only one result corresponding to the highest scoring match for each feature was used to determine the annotation set.  Because xMSannotator uses relative rather than absolute mass tolerances, we tested both 5 and 10ppm for the “max.mz.diff” parameter and kept the best results. Retention time tolerance was set to 3 seconds (0.05 min), and the “filter.by” option was set to (“M+H”, “M+Na”, “M+K”) to require any of these to be considered a high confidence match.

The following criteria were used to assess the performance of each tool:

1) Number of correctly identified principal ions for the 75 known compounds.  The principal ion is defined to be the most abundant representative feature of each known metabolite. In the case of MS-FLO, any annotations that could be used to infer the underlying metabolite adduct type were considered to be correct.

2) Number of annotated adducts and neutral losses: We counted the number of adduct and neutral loss annotations generated by each program for all 75 known metabolites. For each, we used the union of adducts and neutral losses grouped together with the principal ion across all four tools as our benchmark.  Some rules and restrictions apply:

- Parent fragment-ion pairs were only counted when correctly labeled. For example, a (M+H/ M+H-HCOOH) pair would not be counted as correct if it was labeled (M+H+HCOOH/ M+H).

- Only those annotations explicitly labeled in the annotation files of CAMERA and xMSannotator were counted. Certain annotations generated by Binner and MS-FLO (e.g. M+2Na+NaCOOH-H) were not included in the final count even if deemed correct.

- CAMERA often generated multiple equivalent annotations per row; if the correct annotation was among the list, it was counted as correct.

- A small number of CAMERA annotations exceeded the retention time tolerance (0.05 min) set in other programs. They were counted as correct if the peak was very wide (e.g. edetic acid), or discounted otherwise (e.g. lysine).

- For MS-FLO, since only differences are noted and only one label can be used to annotate each difference in the program settings, correctly labeled differences were counted towards the score (e.g. M+Na, M+2Na-H pairs were counted as 2 if labeled M+H -> M+Na).

3) Number of correctly assigned isotopes: From the union set of correct annotations determined from the previous step, the total number of isotopes were counted with respect to all adducts and neutral loss fragments. Rules were as follows:

- The isotopes must be exactly labeled. For example, M+3 isotopes labeled as [M+1] were deemed incorrect and therefore were not counted.

- Although ~2.006 is generally the mass difference between two carbon isotopes, a number of stable elemental isotopes have differences closer to 1.998 (e.g. sulfur and chlorine). Therefore second isotopes were allowed to range from 1.995 to 2.0115 for this analysis. Mass differences closer to 2.014 were assumed to be the mass of a unit of unsaturation (for lipids) and therefore were not counted.

- MS-FLO allows searching for only one isotopic difference; this was set to the most common one (1.00335).

- On rare occasions, if a labeled isotope was deemed implausibly abundant it was discounted.

- When isotope charges conflicted between programs, the doubly-charged was deemed more accurate (especially if a doubly charged annotation was generated for the parent isotopologue).

4) Number of split feature groups: This criterion was used as a penalty for splitting the adduct and neutral loss features corresponding to a single metabolite into separate feature groups or clusters. If a feature annotation was left blank, but the feature resided in the same cluster as other annotated features, no penalty was applied. For Binner, groups were defined by either the principal ion (M1, M2, M3, etc…) or the cluster number in cases where features are clustered incorrectly. Likewise, CAMERA’s feature groups were defined by a neutral mass and pcspec number. xMSannotator groups were defined by molecular formula; the total number of unique formulas assigned to the annotation set defined its group count. For MS-FLO, a count of feature groups could not be determined because it does not perform clustering and “matches” between pairs may appear multiple times within an annotation set.

Supplementary Fig. 2. Binner annotated twelve features in the cluster containing LysoPC 16:0 as degenerate LysoPC 16:0, with multiple additions of NaCl and NaCOOH.  A: Theoretical isotope distribution for the Cl- and COOH- ions of LysoPC 16:0 (red box) vs centroided MS spectrum (left panel), and  MS/MS spectra of the formate ion for each pair (right.). B-F: Each new MS and MS/MS spectrum pair represents the addition of NaCOOH compared with the figure above it. Note that for the MS/MS spectra of B-F, the charge primarly stays with adduct during fragmentation, and the major fragment peaks represent sodium formate cluster ions.

| Feature | MZ | RT | Median Intensity | Isotopes | Adducts/NLs | Derivations | Correlations |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | tyrosine | F2946 | F4875 | F4873 | F4876 | F2951 | F4871 | F4869 | F4870 | F2952 | F2953 |
| tyrosine | 182.0815 | 6.63 | 25254733 |  | [M741 + H] | [181.0742 + 1.007276] | 1 | 0.99 | 0.99 | 0.77 | 1.00 | 0.96 | 0.95 | 0.84 | 0.75 | 0.96 | 0.91 |
| F2946 | 136.0760 | 6.63 | 5130 |  | [M741 + H - (H2O+CO)] | [181.0742 + 1.007276 - 46.005479] | 0.99 | 1 | 0.99 | 0.75 | 0.99 | 0.94 | 0.94 | 0.82 | 0.75 | 0.95 | 0.89 |
| F4875 | 165.0549 | 6.63 | 10402 |  | [M741 + H - NH3] | [181.0742 + 1.007276 - 17.0254] | 0.99 | 0.99 | 1 | 0.74 | 0.99 | 0.96 | 0.94 | 0.83 | 0.73 | 0.94 | 0.90 |
| F4873 | 182.0783 | 6.63 | 22 |  |  |  | 0.77 | 0.75 | 0.74 | 1 | 0.77 | 0.75 | 0.80 | 0.68 | 0.80 | 0.79 | 0.80 |
| F4876 | 182.0815 | 6.63 | 55048 |  | [M741 + H] (duplicate) | [181.0742 + 1.007276] | 1.00 | 0.99 | 0.99 | 0.77 | 1 | 0.96 | 0.95 | 0.84 | 0.75 | 0.96 | 0.92 |
| F2951 | 123.0442 | 6.64 | 742 |  | [M741 + H - (NH3+CH2CO)] | [181.0742 + 1.007276 - 59.037114] | 0.96 | 0.94 | 0.96 | 0.75 | 0.96 | 1 | 0.93 | 0.88 | 0.76 | 0.92 | 0.92 |
| F4871 | 226.0452 | 6.64 | 16680 |  | [M741 + Na + Na-H] | [181.0742 + 22.989221 + 21.9821] | 0.95 | 0.94 | 0.94 | 0.80 | 0.95 | 0.93 | 1 | 0.91 | 0.90 | 0.96 | 0.95 |
| F4869 | 294.0328 | 6.64 | 2713 |  | [M741 + Na + NaCOOH +Na-H] | [181.0742 + 22.989221 + 89.9694] | 0.84 | 0.82 | 0.83 | 0.68 | 0.84 | 0.88 | 0.91 | 1 | 0.87 | 0.86 | 0.94 |
| F4870 | 362.0203 | 6.64 | 7015 |  | [M741 + H + (NaCOOOH + Na - H) x 2] | [181.0742 + 1.007276 + 179.938737] | 0.75 | 0.75 | 0.73 | 0.80 | 0.75 | 0.76 | 0.90 | 0.87 | 1 | 0.85 | 0.88 |
| F2952 | 429.1015 | 6.64 | 1993 |  | [2M741 + Na + 2Na-2H] | [2(181.07422) + 22.989221 + 43.9642] | 0.96 | 0.95 | 0.94 | 0.79 | 0.96 | 0.92 | 0.96 | 0.86 | 0.85 | 1 | 0.93 |
| F2953 | 497.0890 | 6.64 | 1472 |  | [2M741 + Na + NaCOOH + 2Na-2H] | [2(181.07422) + 22.989221 + 111.9515] | 0.91 | 0.89 | 0.90 | 0.80 | 0.92 | 0.92 | 0.95 | 0.94 | 0.88 | 0.93 | 1 |
|  |  |  |  |  |  |  | F4841 | leucine | F4840 | F2980 | F2981 | F4837 | F2982 | F4839 | F4838 | F2983 | F2986 |
| F4841 | 312.0408 | 6.76 | 13926 |  | [M742 + H + (NaCOOOH + Na - H) x 2] | [131.0948 + 1.007276 + 179.938737] | 1 | 0.91 | 0.90 | 0.91 | 0.95 | 0.78 | 0.91 | 0.92 | 0.92 | 0.93 | 0.84 |
| leucine | 132.1021 | 6.77 | 115180524 |  | [M742 + H] | [131.0948 + 1.007276] | 0.91 | 1 | 0.99 | 1.00 | 0.98 | 0.85 | 0.91 | 0.98 | 0.98 | 0.87 | 0.86 |
| F4840 | 86.0965 | 6.77 | 20185 |  | [M742 + H - (H2O+CO)] | [131.0948 + 1.007276 - 46.005479] | 0.90 | 0.99 | 1 | 1.00 | 0.98 | 0.84 | 0.91 | 0.98 | 0.97 | 0.89 | 0.89 |
| F2980 | 132.1021 | 6.77 | 159027 |  | [M742 + H] (duplicate) | [131.0948 + 1.007276] | 0.91 | 1.00 | 1.00 | 1 | 0.99 | 0.84 | 0.92 | 0.98 | 0.97 | 0.89 | 0.88 |
| F2981 | 176.0660 | 6.77 | 22562 |  | [M742 + Na + Na-H] | [131.0948 + 22.989221 + 21.9821] | 0.95 | 0.98 | 0.98 | 0.99 | 1 | 0.85 | 0.94 | 0.99 | 0.97 | 0.93 | 0.89 |
| F4837 | 217.0925 | 6.77 | 389 |  | [M742 + Na + Na-H + Acetonitrile] | [131.0948 + 22.989221 + 63.0086] | 0.78 | 0.85 | 0.84 | 0.84 | 0.85 | 1 | 0.75 | 0.86 | 0.85 | 0.81 | 0.76 |
| F2982 | 244.0537 | 6.77 | 2823 |  | [M742 + Na + NaCOOH +Na-H] | [131.0948 + 22.989221 + 89.9694] | 0.91 | 0.91 | 0.91 | 0.92 | 0.94 | 0.75 | 1 | 0.93 | 0.91 | 0.88 | 0.87 |
| F4839 | 329.1427 | 6.77 | 3503 |  | [2M742 + Na + 2Na-2H] | [2(131.09482) + 22.989221 + 43.9642] | 0.92 | 0.98 | 0.98 | 0.98 | 0.99 | 0.86 | 0.93 | 1 | 0.96 | 0.92 | 0.90 |
| F4838 | 397.1303 | 6.77 | 2862 |  | [2M742 + Na + NaCOOH + 2Na-2H] | [2(131.09482) + 22.989221 + 111.9515] | 0.92 | 0.98 | 0.97 | 0.97 | 0.97 | 0.85 | 0.91 | 0.96 | 1 | 0.85 | 0.83 |
| F2983 | 465.1180 | 6.77 | 1470 |  | [2M742 + Na + (NaCOOOH + Na - H) x 2] | [2(131.09482) + 22.989221 + 179.938737] | 0.93 | 0.87 | 0.89 | 0.89 | 0.93 | 0.81 | 0.88 | 0.92 | 0.85 | 1 | 0.91 |
| F2986 | 192.0400 | 6.78 | 1136 |  | [M742 + K + Na-H] | [131.0948 + 38.963158 + 21.9821] | 0.84 | 0.86 | 0.89 | 0.88 | 0.89 | 0.76 | 0.87 | 0.90 | 0.83 | 0.91 | 1 |
|  |  |  |  |  |  |  | F4823 | methionine | F3000 | F2999 | F3002 | F4819 | F4821 | F4820 | F3004 | F4817 |  |
| F4823 | 151.0556 | 6.83 | 40 |  |  |  | 1 | 0.57 | 0.64 | 0.62 | 0.66 | 0.56 | 0.63 | 0.53 | 0.59 | 0.59 |  |
| methionine | 150.0586 | 6.84 | 48270 | [i99] | [M743 + H] | [149.0513 + 1.007276] | 0.57 | 1 | 0.99 | 0.99 | 0.94 | 0.99 | 0.95 | 0.64 | 0.89 | 0.99 |  |
| F3000 | 104.0529 | 6.84 | 2578 |  | [M743 + H - (H2O+CO)] | [149.0513 + 1.007276 - 46.005479] | 0.64 | 0.99 | 1 | 0.99 | 0.95 | 0.98 | 0.96 | 0.68 | 0.91 | 0.98 |  |
| F2999 | 133.0319 | 6.84 | 8089 | [i100] | [M743 + H - NH3] | [149.0513 + 1.007276 - 17.0254] | 0.62 | 0.99 | 0.99 | 1 | 0.94 | 0.98 | 0.96 | 0.67 | 0.90 | 0.99 |  |
| F3002 | 134.0353 | 6.84 | 311 | [i100 + 1] |  |  | 0.66 | 0.94 | 0.95 | 0.94 | 1 | 0.92 | 0.92 | 0.67 | 0.83 | 0.94 |  |
| F4819 | 152.0543 | 6.84 | 1860 |  | [M744 + H] | [151.0470 + 1.007276] | 0.56 | 0.99 | 0.98 | 0.98 | 0.92 | 1 | 0.93 | 0.60 | 0.89 | 0.98 |  |
| F4821 | 194.0225 | 6.84 | 9852 |  | [M743 + Na + Na-H] | [149.0513 + 22.989221 + 21.9821] | 0.63 | 0.95 | 0.96 | 0.96 | 0.92 | 0.93 | 1 | 0.83 | 0.92 | 0.95 |  |
| F4820 | 329.9973 | 6.84 | 5266 |  | [M743 + H + (NaCOOOH + Na - H) x 2] | [149.0513 + 1.007276 + 179.938737] | 0.53 | 0.64 | 0.68 | 0.67 | 0.67 | 0.60 | 0.83 | 1 | 0.73 | 0.67 |  |
| F3004 | 135.0277 | 6.85 | 270 |  | [M744 + H - NH3] | [151.0470 + 1.007276 - 17.0254] | 0.59 | 0.89 | 0.91 | 0.90 | 0.83 | 0.89 | 0.92 | 0.73 | 1 | 0.92 |  |
| F4817 | 151.0619 | 6.85 | 2417 | [i99 + 1] |  |  | 0.59 | 0.99 | 0.98 | 0.99 | 0.94 | 0.98 | 0.95 | 0.67 | 0.92 | 1 |  |

Supplementary Fig. 3. Binner annotations for 3 clusters from a QExactive/HILIC Positive Untargeted Metabolomics experiment

Supplementary References

Holman, J.D., Tabb, D.L. and Mallick, P. Employing ProteoWizard to Convert Raw Mass Spectrometry Data. Current protocols in bioinformatics 2014;46:13.24.11-19.

Prince, J.T. and Marcotte, E.M. Chromatographic alignment of ESI-LC-MS proteomics data sets by ordered bijective interpolated warping. Analytical chemistry 2006;78(17):6140-6152.

Salek, R.M., et al. The role of reporting standards for metabolite annotation and identification in metabolomic studies. GigaScience 2013;2(1):13.

Smith, C.A., et al. XCMS: processing mass spectrometry data for metabolite profiling using nonlinear peak alignment, matching, and identification. Analytical chemistry 2006;78(3):779-787.

Starczewski, A. and Krzyżak, A. A Modification of the Silhouette Index for the Improvement of Cluster Validity Assessment. In. Cham: Springer International Publishing; 2016. p. 114-124.

Tautenhahn, R., Bottcher, C. and Neumann, S. Highly sensitive feature detection for high resolution LC/MS. BMC Bioinformatics 2008;9:504.

Tautenhahn, R., et al. XCMS Online: a web-based platform to process untargeted metabolomic data. Analytical chemistry 2012;84(11):5035-5039.